“世纪梦想”豪华游轮装饰工程项目

瓷砖手册

【瓷砖】

重庆冠达世纪游轮有限公司

瓷砖技术说明

Ceramic Tile Technical Specifications

- 符合国家现行最新标准和行业标准，以及相关规范要求。具有各项检验证书，各项检验合格证。

- Comply with the latest national and industry standards, as well as relevant regulatory requirements. Having various inspection certificates and certificates of conformity.

- 瓷砖外观无裂纹、无划痕、无明显色差、无污染、缺棱缺角等缺陷。

- The appearance of ceramic tiles is free of cracks, scratches, obvious color differences, pollution, and defects such as missing edges and corners.

- 该产品具有耐磨、耐冲击、耐烟灼、耐潮湿、抗腐蚀、耐油渍（茶渍等）渗透。

- 3. This product has wear resistance, impact resistance, smoke and burn resistance, moisture resistance, corrosion resistance, and oil stain (tea stain, etc.) penetration resistance.

- 5.清单数据来源于施工图，未含耗损。

- 5.The inventory data is sourced from the construction drawings and does not include wear and tear.

- 6.以甲方最终选型封样为准，待甲方确认后才能加工制作。

- 6.The final selection and sealing sample by Party A shall prevail, and processing and production can only be carried out after confirmation by Party A.

- 7.制造前，需提供样板（300mm*300mm）供世纪游轮审核确认及封样。

- 7.Before manufacturing, a sample (300mm * 300mm) must be provided for Century Cruise to review, confirm, and seal.